## Slide 1
Dosimetry
Linking biological effects with physical quantities
RADART group coordinator

## Slide 2
What is Dosimetry?
Calculation and measurement of the absorbed dose by an object (the human body!) exposed to ionising radiation and the evaluation of its biological impact on the organ and tissues.
Dosimetry
Industry
Research
Medicine
Imaging
Radiotherapy
Nuclear energy
Structural engineering
Radiopharmaceutical production
Archaeological dating
Radioimmunoassay
Space missions
Nuclear medicine

## Slide 3
Radiation Sources
UNEP Booklet, Radiation effects and Sources (2016)

## Slide 4
UNEP Booklet, Radiation effects and Sources (2016)
Radiation effects on us
Stocastic
Deterministic

## Slide 5
Cellular damage mechanisms

## Slide 6
Physical
Dose
Chemical
Oxygen content
Biological
Cell line
Dose rate
LET
Fractioning (time and space)
Temperature
Track structure
Presence of antioxidants
Cell cycle
Bystander effects
Immune system response
Cellular end point
ROS production
Factors that influence cellular radiosensitivity

## Slide 7
Absorbed dose
Energy imparted
Related to the fraction of energy kinetic energy that is imparted in the volume
Absorbed dose
Dose is defined in a point as an average value of stochastic processes in a (small) volume
SI unit: Gy (gray)

## Slide 8
Stopping power
Energy lost
Stopping power
Accounts for all kinetic energy lost by a single particle crossing the volume
Unit: keV/μm or MeV/cm

## Slide 9
Linear energy transfer
Energy transferred
LET
Accounts for all energy transferred by a single particle inside de volume
Energy transfered inside the volume, but deposited outside.
Unit: keV/μm or MeV/cm

## Slide 10
Immunofluorescence image of 𝛾-H2AX foci on human lymphocytes cell nucleus
Low-LET: 𝛾-rays
High-LET: 0.88 MeV protons (28 keV/𝜇m)
M. Moganato et al. The DNA-Damage Response to Ionizing Radiation in Human Lymphocytes (2011)
Low-LET: Low density of ionisations and scattered
High-LET: High ionisation density and very localised
LET and the cell damage

## Slide 11
Clonogenic assay: the gold standard of radiobiology
Plating effciency
Survival fraction
E. J. Hall and A. J. Giaccia, Radiobiology for the Radiologist (2012)

## Slide 12
Low-LET: Linear Quadratic Model (LQM)
High-LET: Linear Model (LM)
SF dose response: LET dependence
Radiosensitivity increases with LET

## Slide 13
Relative Biological Effictiviness (RBE)
D𝛼
Dγ
J. M. Søbstad, Monte Carlo based comparison of constant vs. variable RBE for proton therapy patients (2017).

## Slide 14
SF dose response: Oxygen enhancement effect
Cells of human origin
Hypoxic: lower biological effectiveness (tumour cells)
Hypoxic
Oxygenated
Oxygenated: higher biological effectiveness (normal cells)
Lower LET:
Higher LET: independent of oxygen conditions
E. J. Hall and A. J. Giaccia, Radiobiology for the Radiologist (2012)
Radiosensitivity increases with oxygen concentration

## Slide 15
SF dose response: Cell cycle
~24 hours
Radiosensitivity increases during the mitotic phase (G2-M-G1).
Cell growth (synthesis of proteins and organelles)
DNA duplication
(synthesis of genetic material)
Cell division
Cell growth (synthesis of enzymes and RNA)

## Slide 16
SF dose response: Dose rate effect
Inverse dose rate effect
In general, radiosensitivity increases with dose rate, but…
Some cells (HeLa) become blocked in the G2 phase at low dose rates→Higher radiosensitivity
E. J. Hall and A. J. Giaccia, Radiobiology for the Radiologist (2012)

## Slide 17
The need for micro- and nanodosimetry
2 nm
3.4 nm
Stochastic quantities
Specific energy
Lineal energy
DNA
Cell
Organ
H. H. Rossi and M Zaider, Microdosimetry and Its Applications (1996)

## Slide 18
At each depth there is no
well-defined LET, but rather a distribution around a mean value.
C. Verona et al. Med. Phys. 47 (2020)
Example: 62 MeV proton beam measurements

## Slide 19
Mini-TEPC
Microdosimeters
scCVD Diamond μD
I. A. Zahradnik et al. Phys. Status Solidi A,215 (2018)
3D SOI μD
A. T. Samnøy et al. Rad. Phys. Chem. 176 (2020)
A. Bianchi et al. Rad. Phys. Chem. 202 (2023)
Rossi TEPC (1960)

## Slide 20
Radiation Dosimetry to Advance RadioTherapy (RADART)
Group thematic lines
Detectors and materials for high-res. dosimetry
New modalities and applications in RT

## Slide 21
Projects and collaborations
Detectors and materials for dosimetry
Scintillating optical fibre array for high-res. dosimetry
Development of materials for micro and nanodosimetry
RADART
New modalities and applications in RT
Modelling radiobiological effects of NPs
Effects of PT in NDDs

## Slide 22
Detectors and materials for dosimetry
Clinical protons @ HollandPTC
D. Guerreiro et al. J Inst 19(5) (2024)
OSL-FNTD crystals
Nanofibers OSL dosimetry

## Slide 23
New modalities and applications in RT
Modelling radiobiological effects of NPs
S. Lacombe at al. Cancer Nanotechnol. 8(1) (2017)
Increase production of secondary particles
Increase production of ROS
Enhnancement of the therapeutic effect
Monte Carlo simulations (TOPAS nBio)
Radiobiological models
Compare with experimental data
J. Antunes et al. Bio Phys Express 10(2) (2024)

## Slide 24
New modalities and applications in RT
Effects of low-dose (< 0.1 Gy) in neurodegenerative disorders (NDDs)
Irradiation of brain cells with different types of radiation
Assess the production of ROS
Effects on the destruction of protein aggregates (amyloidosis)
Model based on Monte Carlo simulations (TOPAS nBio)
M. Chapleau et al. J. Nuc. Med. 63 (2022)
NDD are associated with increased protein aggregations (amyloidosis)

## Slide 25
Thanks for your attention!